🦴 BONIFY Musculoskeletal Radiograph Classification Model Documentation · v1.0

| Dataset | MURA v1.1 — Stanford ML Group |
| --- | --- |

| Model | DenseNet169 — Transfer Learning + 3-Phase Fine-Tuning |
| --- | --- |

| Task | Multi-Class Classification — 14 classes (7 body parts × Normal/Abnormal) |
| --- | --- |

| Metrics | Accuracy · AUC · Cohen Kappa · F1 (Macro & Weighted) |
| --- | --- |

| Image Size | 320 × 320 px |
| --- | --- |

| Framework | TensorFlow / Keras |
| --- | --- |

1. Overview

BONIFY is a deep learning system for automated bone fracture and abnormality detection from musculoskeletal X-ray images. The model classifies radiographs into 14 classes — covering 7 anatomical body regions, each with a Normal and Abnormal label — enabling simultaneous body part identification and pathology detection.

The model is built on DenseNet169 and trained using a 3-phase transfer learning strategy on the MURA v1.1 dataset from Stanford University, one of the largest publicly available musculoskeletal radiology datasets.

2. Dataset

| Name | MURA v1.1 (MUsculoskeletal RAdiographs) |
| --- | --- |

| Source | Stanford ML Group — Kaggle Dataset |
| --- | --- |

| Split | Train / Validation (15% stratified) / Test (valid folder) |
| --- | --- |

| Input Format | PNG X-ray images — RGB channels |
| --- | --- |

| Challenges | Class imbalance · High inter-class similarity · Low contrast |
| --- | --- |

## 2.1  Class Mapping — 14 Classes

| Label | Class Name | Label | Class Name |
| --- | --- | --- | --- |
| 0 | ELBOW_Normal | 1 | ELBOW_Abnormal |
| 2 | FINGER_Normal | 3 | FINGER_Abnormal |
| 4 | FOREARM_Normal | 5 | FOREARM_Abnormal |
| 6 | HAND_Normal | 7 | HAND_Abnormal |
| 8 | HUMERUS_Normal | 9 | HUMERUS_Abnormal |
| 10 | SHOULDER_Normal | 11 | SHOULDER_Abnormal |
| 12 | WRIST_Normal | 13 | WRIST_Abnormal |

3. Preprocessing Pipeline

The following steps are applied consistently across training and evaluation:

- Image Resizing — all images resized to 320 × 320 px

- Normalization — pixel values scaled to [0.0, 1.0]

- Data Augmentation (training only):

- Random horizontal & vertical flip

- Random brightness adjustment ± 15%

- Random contrast scaling [0.85, 1.15]

- Random saturation [0.85, 1.15]

- Crop or pad to fixed size

- Label Encoding — one-hot encoding for 14 classes

- Class Weights — computed using sklearn balanced weighting to handle imbalance

Pipeline built with tf.data for efficient GPU-accelerated loading and augmentation.

4. Model Architecture

| Base Model | DenseNet169 — pretrained on ImageNet |
| --- | --- |

| Custom Head | GlobalAveragePooling2D → BatchNorm → Dense(512) → Dropout(0.4) → Dense(14, Softmax) |
| --- | --- |

| Loss Function | Categorical Focal Loss (γ=2.0, α=0.25) |
| --- | --- |

| Optimizer | Adam |
| --- | --- |

| Total Parameters | ~12.6 Million |
| --- | --- |

The Categorical Focal Loss focuses training on hard-to-classify examples by down-weighting easy samples. This is particularly effective for the class imbalance present in the MURA dataset.

5. Training Configuration — 3-Phase Strategy

## Phase 1 — Transfer Learning

- Frozen base (DenseNet169) — only custom head trained

- Learning Rate: 1e-4  ·  Epochs: 10

- Last 60 layers unfrozen for initial adaptation

## Phase 2 — Fine-Tuning

- All layers unfrozen

- Learning Rate: 5e-6  ·  Epochs: 20

- Augmentation enabled

## Phase 3 — Deep Fine-Tuning

- Continued fine-tuning at lower LR

- Learning Rate: 1e-6  ·  Epochs: 15

- Class weights applied

## Callbacks Used

- EarlyStopping — patience=5, monitor val_loss

- ReduceLROnPlateau — factor=0.5, patience=3

- ModelCheckpoint — saves best model per phase

6. Evaluation Results

Final metrics computed on the MURA v1.1 validation set (used as test set):

| ~79% Top-1 Accuracy Overall test set | ~95% Top-3 Accuracy Top-3 prediction | ~0.77 Cohen Kappa Inter-rater agreement |
| --- | --- | --- |

| ~0.78 F1 — Macro Unweighted average | ~0.79 F1 — Weighted Weighted by support | 32 Batch Size GPU-optimized |
| --- | --- | --- |

7. Accuracy by Body Region

| Body Region | Accuracy | Test Samples |
| --- | --- | --- |
| ELBOW | 83.4% | 465 |
| WRIST | 83.0% | 659 |
| HUMERUS | 78.5% | 288 |
| HAND | 76.7% | 460 |
| SHOULDER | 76.0% | 563 |
| FINGER | 75.5% | 461 |
| FOREARM | 70.4% | 301 |

Top-3 Most Confused Class Pairs:

- HAND_Abnormal → HAND_Normal  (83 cases)

- FINGER_Abnormal → FINGER_Normal  (76 cases)

- WRIST_Abnormal → WRIST_Normal  (71 cases)

Confusion is primarily between Normal and Abnormal within the same body region — indicating the model correctly identifies body parts but occasionally misclassifies pathology severity, which is expected given subtle radiographic differences.

8. Strengths & Limitations

## Strengths

- Simultaneous body part identification and abnormality detection

- 3-phase fine-tuning improves convergence stability

- Focal loss reduces impact of easy negatives and class imbalance

- Top-3 accuracy of ~95% — clinically useful for shortlisting

- Deployed via Streamlit (BONIFY app) for real-time inference

## Limitations

- Classification only — no bounding box or fracture localization

- Trained on MURA dataset; performance on out-of-distribution X-rays may vary

- Subtle fractures (e.g., hairline) may be harder to detect

- Not validated on clinical data — for research purposes only

9. Deployment

| App Name | BONIFY — AI-Powered Fracture Detection |
| --- | --- |

| Framework | Streamlit |
| --- | --- |

| Model File | densenet169_multiclass_final.keras |
| --- | --- |

| Input | PNG / JPG X-ray image |
| --- | --- |

| Output | Body region · Normal/Abnormal verdict · Confidence % · Top-5 probabilities |
| --- | --- |

Run with:  streamlit run app.py

10. RAG Integration Notes

This documentation is structured for indexing in a Retrieval-Augmented Generation (RAG) system:

- Dataset description — Section 2

- Preprocessing pipeline — Section 3

- Model architecture summary — Section 4

- Training configuration — Section 5

- Performance metrics — Section 6 & 7

- Strengths and limitations — Section 8

⚠️ For research and educational purposes only — not intended as a clinical diagnostic tool.